## DialyGuard USD
DialyGuard 2020 Price List Prices in US Dollars
90XL Meters and Modules
Part Number | Item | Description
5521106000 | 90 XL Complete Systems | 90XL Display, Condo/Temp, Pressure, and pH Modules plus Accessories & Solutions
5021106001 | 90 XL Complete Systems | 90XL Display, Condo/Temp, and Pressure Modules plus Accessories
5021106002 | 90 XL Complete Systems | 90XL Display, Condo/Temp, and Neg-Pressure Modules plus Accessories
5521106006 | 90 XL Complete Systems | 90XL Display, Condo/Temp, and Pressure Module ( +/-0.8 MIL./MERCURY) plus Accessories
5021106007 | 90 XL Complete Systems | 90XL Display and 2 Condo/Temp Modules plus Accessories
350150603 | 90XL Modules | Display Module
350150600 | 90XL Modules | Conductivity and Temperature Module
350150602 | 90XL Modules | pH Module with Probe Assembly
350150601 | 90XL Modules | Standard Pressure Module
350150605 | 90XL Modules | Pressure Module with +/- 0.8 mmHG at 0-300 mmHG
90XL Parts and Accessories
Part Number | Item | Description
201110021 | Display Module Power Adapter | 90XL Power Adapter (Choose Appropriate Blade Below)
201110025 | Display Module Power Adapter | USA Power Blade
201110022 | Display Module Power Adapter | Euro Power Blade
201110023 | Display Module Power Adapter | UK Power Blade
201110024 | Display Module Power Adapter | Australia Power Blade
201110026 | Display Module Power Adapter | Chinese Power Blade
303110075 | Display Module Accessories | Display Module Cover/Holder
503110024 | Display Module Accessories | IV Pole Connector
201110003-1 | Carrying Case | 90XL Carrying Case with Cut-outs
350120002 | Adapters | Negative Pressure Adapter
91.0031 | Adapters | Pressure Adapter
350120003 | Adapters | In-Line Adapter
94.0008 | Adapters | Female Hansen Luer Adapter
350120005 | 90 XL Module Accessories | Monitoring Line & Stopcock
91.0011 | 90 XL Module Accessories | Luer Fittings Kit, Package of 3
93.0008 | 90 XL Module Accessories | Fittings, Female Luer Coupler, Package of 10
201110005 | 90 XL Module Accessories | pH Probe Assembly
503110017 | 90 XL Module Accessories | Sampling Kit
503110023 | 90 XL Module Accessories | Transducer Protector
505110005 | 90 XL Module Accessories | 90XL Accessory Pack
350110015 | Module Extension Cables | Sensor Module Extension Cable, yellow, 2 meter length
350110016 | Module Extension Cables | Sensor Module Extension Cable, yellow, 5 meter length
pHoenix XL Meters and Modules
Part Number | Item | Description
36-00185 | pHoenix XL | 3 pHoenix XL Meters and Modules plus Super Station with Buffer and Standard Solutions
36-00175 | pHoenix XL | 3 pHoenix XL Meters and Modules plus TriStation with Buffer and Standard Solutions
36-00180 | pHoenix XL | pHoenix XL Meter and Module plus Buffer and Standard Solutions
36-00300 | pHoenix XL | pHoenix XL Meter and Module
36-00310 | pHoenix XL | pHoenix XL Module
Syringe Meter Accessories
Part Number | Item | Description
93.0006 | Sampling Tubes and Accessories | Sampling Tube, Package of 10
93.0007 | Sampling Tubes and Accessories | 3" Male-Female Luer Adapter, Package of 10
36-00130 | Sampling Tubes and Accessories | 10" Male-Female Luer Adapter, Package of 10
94-0013 | Sampling Tubes and Accessories | Male-Male Luer Adapter, Package of 10
93.0003 | Sampling Tubes and Accessories | Male Slip Luer Adapter, Package of 20
98-0021 | Sampling Tubes and Accessories | Sample Collection Cup Assembly, Package of 4
36-00150 | pHoenix XL Meter Accessories | pHoenix XL Battery and 3 battery door screws
210427-001 | pHoenix XL Meter Accessories | pHoenix XL Battery
36-00131 | pHoenix XL Meter Accessories | pHoenix XL Care Package - Includes User Guide, Wall Chart and Accessory Pack
94-0024 | pHoenix XL Meter Accessories | pHoenix XL Meter Holder
93-0015 | Common Meter Accessories | Control Syringe, Package of 2
93.0002 | Common Meter Accessories | Calibration Labels, Package of 500
93-0022 | Common Meter Accessories | Cap, Anti-drying, Package of 20
98.0010 | Legacy pHoenix Meter Accessories | Port Assembly (for pHoenix Meters Rev. K and later), Package of 2
07.100051 | Legacy pHoenix Meter Accessories | Battery, 9V, Alkaline, Energizer, 522VP
Care and Calibration Stations
Part Number | Item | Description
04-0026 | Calibration Stations | Super Station Assembly (9 bottle unit) plus pHoenix XL Accessories
04-0025 | Calibration Stations | Super Station Assembly (9 bottle unit)
04-0022 | Calibration Stations | Rinse Station (3 bottle unit)
04-0023 | Calibration Stations | Cal-Station (4 bottle unit)
04-0024 | Calibration Stations | Mini Station Assembly (5 bottle unit)
04-0016 | Calibration Stations | Single Station Assembly
94.0010 | Calibration Station Replacement Parts | Replacement Tubing Kit
94-0018 | Calibration Station Replacement Parts | Replacement Cap Assembly, Quart or Pint size, Package of 5
94-0009 | Calibration Station Replacement Parts | Replacement Bottle, 1 qt. (includes modified cap), Package of 2
94-0016 | Calibration Station Replacement Parts | Replacement Bottle, 1 pt. (includes modified cap), Package of 2
94-0007 | Calibration Station Replacement Parts | Vinyl Bottle Label Pack, 2 RO Labels, 2 Bleach Labels, & 2 Disinfectant Labels
94.0003 | Calibration Station Replacement Parts | Dual Check Valve, Package of 10
93.0007 | Calibration Station Accessories | 3" Male-Female Luer Adapter, Package of 10
94-0013 | Calibration Station Accessories | Male-Male Luer Adapter, Package of 10
94.0008 | Calibration Station Accessories | Female Hansen-Female Luer Adapter, Package of 3
93.0005 | Calibration Station Accessories | Syringe and Sampling Tube, Assembly
94.0005 | Calibration Station Accessories | Laminated Color Wall Chart
02-0029 | Calibration Station Accessories | Cell Cleaning Kit
Single Solutions
Part Number | Item | Description
02.0045 | Conductivity / TDS Calibrator Solutions | 150.0 uS/cm 1 Pint, 16 oz (71ppm)
02.0037 | Conductivity / TDS Calibrator Solutions | 1.0 mS/cm 1 Pint, 16 oz (490ppm)
02.0071 | Conductivity / TDS Calibrator Solutions | 50.0 mS/cm 1 Pint, 16 oz (71ppm)
02.0036 | Conductivity / TDS Calibrator Solutions | 100 mS/cm 1 Pint, 16 oz
02.0016 | Conductivity / TDS Calibrator Solutions | 13.4 mS/cm 1 Pint, 16 oz
02.0014 | Conductivity / TDS Calibrator Solutions | 14.0 mS/cm 1 Pint, 16 oz (7865ppm)
02.0027 | Conductivity / TDS Calibrator Solutions | 14.0 mS/cm 1 Quart, 32 oz (7865ppm)
02.0062 | Combo Solution (Conductiviety + Buffer) | 14.0 mS/cm and 7.00 pH 1 Pint, 16 oz
02.0070 | Combo Solution (Conductiviety + Buffer) | 14.0 mS/cm and 7.00 pH 1 Quart, 32 oz
02.0032 | pH Buffer Solution | 4.00 pH 1 Pint, 16 oz
02.0030 | pH Buffer Solution | 7.00 pH 1 Pint, 16 oz
02.0031 | pH Buffer Solution | 7.00 pH 1 Quart, 32 oz
02.0034 | pH Buffer Solution | 10.00 pH 1 Pint, 16 oz
02.0013 | NEO-CARE Cell Cleaning Solution | 1 Pint, 16 oz
02.0028 | NEO-CARE Cell Cleaning Solution | 1 Quart, 32 oz
02.0003 | NEO-CARE Cell Cleaning Solution | 1 Gallon, 128 oz
02.0073 | TDS Solution | 15ppm 23.8uS/cm 1Qt
02.0074 | TDS Solution | 150ppm 229uS/cm 1Qt
02.0075 | TDS Solution | 1500ppm 2060uS/cm 1Qt
Bulk Solutions
Part Number | Item | Description
02.0800 | Conductivity / TDS Calibrator Solutions | 150.0 uS/cm 1 Pint, 16 oz (71ppm), Package of 12
02.0600 | Conductivity / TDS Calibrator Solutions | 1.0 mS/cm 1 Pint, 16 oz (490ppm), Package of 12
02.0700 | Conductivity / TDS Calibrator Solutions | 100 mS/cm 1 Pint, 16 oz, Package of 12
02.0500 | Conductivity / TDS Calibrator Solutions | 14.0 mS/cm 1 Pint, 16 oz (7865ppm), Package of 12
02.0510 | Conductivity / TDS Calibrator Solutions | 14.0 mS/cm 1 Quart, 32 oz (7865ppm), Package of 6
02.1000 | Combo Solution (Conductiviety + Buffer) | 14.0 mS/cm and 7.00 pH 1 Pint, 16 oz, Package of 12
02.0900 | Combo Solution (Conductiviety + Buffer) | 14.0 mS/cm and 7.00 pH 1 Quart, 32 oz, Package of 6
02.0300 | pH Buffer Solution | 4.00 pH 1 Pint, 16 oz, Package of 12
02.0200 | pH Buffer Solution | 7.00 pH 1 Pint, 16 oz, Package of 12
02.0400 | pH Buffer Solution | 10.00 pH 1 Pint, 16 oz, Package of 12
02.0210 | pH Buffer Solution | 7.00 pH 1 Quart, 32 oz, Package of 6
02.0100 | NEO-CARE Cell Cleaning Solution | 1 Pint, 16 oz, Package of 12
02.0110 | NEO-CARE Cell Cleaning Solution | 1 Quart, 32 oz, Package of 6
02.0079 | TDS Solution | 15ppm 23.8uS/cm 1 Quart, 6PK
02.0080 | TDS Solution | 150ppm 229uS/cm 1 Quart, 6PK
02.0081 | TDS Solution | 1500ppm 2060uS/cm 1Quart, 6PK
Meter Calibration Service and Repair
(Fixed price and includes all parts for repairs related to normal wear and tear, service and calibration.)
Part Number | Item | Description
/AF XL CONDO | 90 XL Calibration and Repair | As-Found 90XL Condo Module
/AF XL PRESSURE | 90 XL Calibration and Repair | As-Found 90XL Pressure Module
/AUT03 | 90 XL Calibration and Repair | 90XL Display Module Repair
/AUT09 | 90 XL Calibration and Repair | Condo/Temp Module Calibration and Repair
/AUTO10 | 90 XL Calibration and Repair | Pressure Module Calibration and Repair
/AUTO11 | 90 XL Calibration and Repair | pH Module Calibration and Repair (pH Probe is Required)
/AUT04 | Legacy Meter Calibration and Repair | NeoStat Calibration and Repair
/AUT05 | Legacy Meter Calibration and Repair | pHoenix Calibration and Repair
/AUT07 | Legacy Meter Calibration and Repair | Hydra Calibration and Repair
Meter Rental
Part Number | Item | Description
/399999-121 | 90XL Modules | 90XL Display Module Rental
/399999-122 | 90XL Modules | 90XL Condo/Temp Module Rental
/399999-123 | 90XL Modules | 90XL Pressure Module Rental
/399999-124 | 90XL Modules | 90XL pH Module Rental
/399999-115 | Legacy Meter Rental | pHoenix Rental
Corporate Headquarters 12100 West 6th Avenue Lakewood, CO 80228 ph: 800.992.6372 • 303.987.8000 • fx: 303.987.8989 mesalabs.com
All products manufactured by Mesa Labs are done so in accordance with current Quality System Regulations of the United States Food and Drug Administration and meet the standards established by USP and ISO 11138. Mesa Labs’ Quality System is registered to ISO 13485:2016 Standards. See Mesa Labs Standard Terms and Conditions at www.mesalabs.com/terms-conditions